# User Notes

1. Software requirements
   1. Windows XP/7 32bit
   2. Photometrics PVcam 2.785 driver
2. Hardware compatibility: Photometrics CH-250
3. Known Issues: Hardware binning is fixed to 1, because of a bug in the PVcam driver